DESI POSITIONER FIRMWARE DESCRIPTION

Irena Gershkovich

1/20/2016

Overview of Key Features

This document describes the functionality and current status of the fiber positioner firmware.   It picks up where Open Loop Description.doc left off -- please refer to that document for a conceptual overview of the firmware and detailed descriptions of the basic commands.   For the most part, what we describe here will be the final structure of the DESI firmware.

The main features that have been added since previous releases are:  the ability to upload a sequence of CAN commands to each positioner and then execute the move table described by the commands  (upon receipt of a sync signal), the ability to request and receive data from the positioners,  and an expanded command id space that allows us to add more functionality for programming via CAN if needed.  Details and instructions about the usage of these new features are provided in the sections below.

Setup/Interface

Appendix A provides instructions for installing and setting up JTAG programming with the KEIL μ-Vision environment.  This is for loading the firmware into the positioners.

The Python control software will need to be modified for the new firmware so that the CAN messages sent are recognized by the positioners.  The sync signal can be provided by driving the sync pad low, we currently just do this by connecting a normally-open momentary contact switch between the sync pad and GND.  When the switch is pressed the uploaded command sequence is executed.  This will eventually be handled by sending a signal from the petal control computer.  The sync signal is used only for commands 2-4 (move table commands) and the fiducial command 16.  All other commands are executed as they are received (except when a move table is loaded/active).

Commands and Data Structure

Each CAN command consists of a 29-bit CAN message identifier and up to 8 bytes of data (each yellow box is 1 byte in size).    The 8 least significant bits of the identifier are reserved for the command id.  This section describes each of the command of the commands implemented in the firmware.

Command #2 – set_currents

The set_currents commands is used to set the current parameter for the various stages of motor motion.  Each argument is 1 byte long and expressed as a percent (0-100).

| positioner id [28:8] | command id: 2 [7:0] | Spin Up/Dwn Current M0 [7:0] | Cruise Current M0 [7:0] | Creep Current M0 [7:0] | Hold Current M0 [7:0] | Spin Up/Dwn Current M1 [7:0] | Cruise Current M1 [7:0] | Creep Current M1 [7:0] | Hold Current M! [7:0] |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Command #3 – set_periods

The set_periods command is used to set the speed at which the creep and spin up/dwn stages of motion are performed.  The command is sent with 3 arguments which are each 1 byte in length.

| positioner id [28:8] | command id: 3 [7:0] | Creep Period M0 [7:0] | Creep Period M1 [7:0] | Spin Up/Dwn Period [7:0] |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Command #4 – set_up_move

Cruise steps, CW creep, and CCW creep steps are now all set with a single command, one axis at a time.  This allows us to upload a larger number of steps (3 bytes) for each movement without breaking them up.    Additionally a post-pause time must be specified to describe the timing of the move table.  This command is sent with 6 bytes in the data field.

NOTE:

For a move table of n commands, commands 1 through (n-1) will be sent with a 1 in the execute code field (2 least significant bits of the row field), and the last command (n) will be sent with a 2 in that field.

| positioner id [28:8] | command id: 4 [7:0] | Execute Code [7:4], Axis Mode [3:0] | Move Steps [23:16] | Move Steps [15:8] | Move Steps [7:0] | Post-Pause Byte 1 (ms) [15:8] | Post-Pause Byte 0 (ms) [7:0] |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Execute Code (upper 4 bits of 1st byte):  0 – single command,   1 – keep filling move table, 2 – 								        end of move table (just [5:4] used for this)

Axis Mode:

Axis Flag (bit 2):  	Theta – 0, Phi – 1

Mode Flag (bit 1): 	Creep – 0, Cruise – 1

Direction Flag (bit 0):  	CW – 0, CCW – 1

Upper bit – used for pause only (no movement), all other Axis Mode bits set to 0 for pause only

Command #5 – set_reset_leds

This is a new command that is used to set and reset the signals sent to the pads that were connected to LEDs.  The LEDs will not be loaded, but the signals can be used for testing purposes.

| positioner id [28:8] | command id: 5 [7:0] | LED Mode [7:0] |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

LED Mode:  0 – LEDs off,   1 –  both LEDs on,  2 – LED 1 on,  3 – LED 2 on

Command #6 – run_test_sequence

This is a new command implemented for the purposes of testing.  This command causes the firmware to send specific waveforms to the theta/phi motor pads.  The data field is left empty for this command.

| positioner id [28:8] | command id: 6 [7:0] |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Command #7 – execute_move_table

This command is used to execute the move table upon its receipt (rather than waiting for a sync signal).  The data field is left empty for this command.

| positioner id [28:8] | command id: 7 [7:0] |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Command #8 – get_move_table_status (also clear_move_table)

This command is used to receive data about the status of the move table and to send a checksum for verifying that the move table has been received without errors.  If a checksum mismatch occurs, the positioner will clear its move table and reset to a state of waiting for a new one.  The move table can be cleared by sending this command with 0's in the checksum data field.

| positioner id [28:8] | command id: 8 [7:0] | Bit Sum [31:24] | Bit Sum [23:16] | Bit Sum [15:8] | Bit Sum [7:0] |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Expected Response (from positioners):

Status Response Code:  1 – Move table received, checksum match,  2 – Move 							   table received checksum mismatch, reset 3 – Ready for 							   new move table

|  | positioner id [28:0] | Bit Sum [7:0] | Bit Sum [15:8] | Bit Sum [23:16] | Bit Sum [31:24] | Status Response Code |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Command #9 – get_temperature

This command is used to request the 14-bit ADC value associated with the temperature sensor.  It returns 2 bytes and is sent with an empty data field.

| positioner id [28:8] | command id: 9 [7:0] |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Expected Response (from positioners):

|  | positioner id [28:0] | Temp [7:0] | Temp [15:8] |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Command #10 – get_CAN_address

This command is used to request the CAN address of the positioner.  It is sent with the global positioner id (20000/0x4e20) that all positioners are configured to accept.  This command is sent with an empty data field.

| global positioner id [28:8] | command id: 10 [7:0] |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Expected Response (from positioners):

|  | positioner id [28:0] | CAN Address [7:0] | CAN Address [15:8] |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Command #11 – get_firmware_version

This command is used to request the version of the firmware running on the positioners.  It returns 1 byte and is sent with an empty data field.   There is assumed to be a decimal point between the last digit and the rest of the digits in the version number returned (base 10).   For example, if the firmware version 0x0000000C (12) is received, the version number is 1.2.

| positioner id [28:8] | command id: 11 [7:0] |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Expected Response (from positioners):

|  | positioner id [28:0] | Firmware Version [7:0] |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Command #12 – get_device_type

This command is used to request the currently configured device type (fiducial = 1, positioner = 0).  It returns 1 byte and is sent with an empty data field.

| positioner id [28:8] | command id: 12 [7:0] |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Expected Response (from positioners):

|  | positioner id [28:0] | Device Type [7:0] |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Command #13 – get_movement_status

This command is used to request the movement status of the positioners (moving = 1, stopped = 0).  It returns 1 byte and is sent with an empty data field.

| positioner id [28:8] | command id: 13 [7:0] |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Expected Response (from positioners):

|  | positioner id [28:0] | Movement Status [7:0] |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Command #14 – get_current_monitor1_val

This command is used to request the 14-bit ADC value that corresponds to current monitor 1.  It returns 1 byte and is sent with an empty data field.

| positioner id [28:8] | command id: 14 [7:0] |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Expected Response (from positioners):

|  | positioner id [28:0] | IMON1 Value [7:0] | IMON1 Value [15:8] |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Command #15 – get_current_monitor2_val

This command is used to request the 14-bit ADC value that corresponds to current monitor 1.  It returns 1 byte and is sent with an empty data field.

| positioner id [28:8] | command id: 15 [7:0] |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Expected Response (from positioners):

|  | positioner id [28:0] | IMON2 Value [7:0] | IMON2 Value [15:8] |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1  :  Byte 2   :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Command #16 – set_device_type

This command is used to switch between device modes (from positioner to fiducial and vice versa).  The command is sent with arguments: device type (fiducial = 1, positioner = 0), duty cycle (216=100 %, 0 = off), and period of time for which fiducial should remain on (sec).  It is executed when either the sync signal or execute_move_table command is received.

| positioner id [28:8] | command id: 16 [7:0] | Device Type [7:0] | Duty Cycle [15:8] | Duty Cycle [7:0] | Period (sec) [15:8] | Period (sec) [7:0] |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Command #17 – read_sid_lower

This command is used to read the lower 64 bits of the complete 96-bit unique silicon id.  The command is sent without an argument in the data field and returns the lower 64 bits read from the UID register.

| global positioner id [28:8] | command id: 17 [7:0] |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Expected Response (from positioners):

|  | positioner id [28:0] | SIDL [7:0] | SIDL [15:8] | SIDL [23:16] | SIDL [31:24] | SIDL [39:32] | SIDL [47:40] | SIDL [55:48] | SIDL [63:56] |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Command #18 – read_sid_upper

This command is used to read the highest 32 bits of the complete 96-bit unique silicon id.  The command is sent without an argument in the data field and returns the upper 32 bits read from the UID register.

| global positioner id [28:8] | command id: 18 [7:0] |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Expected Response (from positioners):

|  | positioner id [28:0] | SIDU [7:0] | SIDU [15:8] | SIDU [23:16] | SIDU [31:24] |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Command #19 – read_sid_short

This command is used to read the abbreviated version of the unique silicon id.  It is an alternative to commands 17 & 18.  The command is sent without an argument in the data field and returns the unique 64 bits constructed from the contents of the UID register (based STMicro's instructions).

| global positioner id [28:8] | command id: 19 [7:0] |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Expected Response (from positioners):

|  | positioner id [28:0] | SID[7:0] | SID[15:8] | SID[23:16] | SID[31:24] | SID[39:32] | SID[47:40] | SID[55:48] | SID[63:56] |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Command #20 – write_CAN_address

This command is used to write the positioner's CAN address to flash after verifying its unique id.  Prior to sending this command, the check_sid command must be sent with the unique id of the target positioner.

| global positioner id [28:8] | command id: 20 [7:0] | CAN address [15:8] | CAN address [7:0] |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Command #21 – read_CAN_address

This command is used to read the first location of page 61 in flash memory where the positioner CAN address is stored.  The command is sent without an argument in the data field and returns the positioner CAN address in 2 bytes.

| global positioner id [28:8] | command id: 21 [7:0] |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Expected Response (from positioners):

|  | positioner id [28:0] | CAN address [7:0] | CAN address [15:8] |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Command #22 – check_sid_lower

This command is used to send the lower bits of a specific unique ID to the positioners and partially enable the target positioner's write_CAN_address flag.  The check_sid_upper command must also be sent to fully enable the write_CAN_address operation (command 20).  Alternatively, the abbreviated version (64-bit) of the unique ID can be used to set the write_CAN_address flag prior to sending command 20.   Commands 22 and 23 allow us to use the full version of 96-bit unique ID in case that is necessary.

| global positioner id [28:8] | command id: 22 [7:0] | SIDL [63:56] | SIDL [55:48] | SIDL [47:40] | SIDL [39:32] | SIDL [31:24] | SIDL [23:16] | SIDL [15:8] | SIDL [7:0] |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Command #23 – check_sid_upper

This command is used to send the highest bits of a specific unique ID to the positioners and partially enable the target positioner's write_CAN_address flag.  The check_sid_lower command must also be sent to fully enable the write_CAN_address operation (command 20).  Alternatively, the abbreviated version (64-bit) of the unique ID can be used to set the write_CAN_address flag prior to sending command 20.   Commands 22 and 23 allow us to use the full version of 96-bit unique ID in case that is necessary.

| global positioner id [28:8] | command id: 23 [7:0] | SIDU [31:24] | SIDU [23:16] | SIDU [15:8] | SIDU [7:0] |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Command #24 – check_sid_short

This command is used to send the abbreviated version of a specific unique ID to the positioners and fully enable the target positioner's write_CAN_address flag.  Commands 22 and 23 are an alternative that allow us to use the full version of 96-bit unique ID in case that is necessary.

| global positioner id [28:8] | command id: 24 [7:0] | SID[63:56] | SID[55:48] | SID[47:40] | SID[39:32] | SID[31:24] | SID[23:16] | SID[15:8] | SID[7:0] |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CAN structure:	Byte 0    :  Byte 1   : Byte 2  :  Byte 3   :  Byte 4   :  Byte 5   :  Byte 6    :  Byte 7

Command #25 - #n:  Reserved for bootloader commands

APPENDIX A – JTAG Programming and Installation Instructions

Necessary Equipment:  Windows machine with Keil u-Vision environment installed, Keil ULINK-ME USB programmer (or other compatible device), positioner board with power and JTAG connection

1)  Download the Keil u-Vision environment onto a Windows machine (or use an existing setup).

2)  Load the entire "fipos_fw_1.0" folder anywhere onto the machine, open the folder and then

double-click on the uVision4 project file (Open_Loop_Test.uvproj) that has the u-Vision logo

next to it.  If using a version of u-Vision > 4, you will be prompted to download Legacy support.

Click on the link, complete the download of Legacy Support, then restart u-Vision.

3)  Hardware: plug in the KEIL ULINK-ME programmer into one of the machine's USB ports.  You

should see a blue LED blinking slowly once the programmer is plugged in and recognized.

4)  Supply power to the board and connect it to the KEIL ULINK-ME via a JTAG connector.

6)  Save the project once you do this, then rebuild by clicking Project->Rebuild all target files.  This

step needs to be performed when anything is changed in the code.

7)  Click Flash->Download to finish loading the firmware to the board then power cycle the board.